## Sheet1
Sr. no | Location | Device Name | Ip address | Port | Modbus id | Channel | Parameter name | Unit | Range Min | Range Max | Low Alarm | High Alarm | Remakes | JB location
1 | E block protein scince lab | Insect CC lab RT | 172.27.153.149 | 502 | 1 | CH-06 | Temp | [6 empty] | BMS room E block
2 | E block protein scince lab | Mammalian Lab RT | 172.27.153.149 | 502 | 2 | CH-07 | Temp
3 | E block protein scince lab | Aur/Eq/PS-047 | 172.27.153.149 | 502 | 1 | CH-01 | Temp
4 | E block protein scince lab | Aur/Eq/PS-035 | 172.27.153.149 | 502 | 1 | CH-02 | Temp
5 | E block protein scince lab | Aur/Eq/PS-015 | 172.27.153.149 | 502 | 2 | CH-09 | Temp
6 | E block protein scince lab | Aur/Eq/PS-096 | 172.27.153.149 | 502 | 2 | CH-14 | Temp
7 | E block protein scince lab | Aur/Eq/PS-084 | 172.27.153.149 | 502 | 2 | CH-08 | Temp
8 | E block protein scince lab | Aur/Eq/PS-037 | 172.27.153.149 | 502 | 3 | Temp CH-20 & Co2 Ch-05 | Temp & Co2
9 | E block protein scince lab | Aur/Eq/PS-0002 | 172.27.153.149 | 502 | 2 | CH-12 | Temp
10 | E block protein scince lab | Aur/Eq/PS-095 | 172.27.153.149 | 502 | 2 | CH-10 | Temp
11 | E block protein scince lab | Aur/Eq/PS-097 | 172.27.153.149 | 502 | 2 | CH-11 | Temp
12 | E block protein scince lab | Aur/Eq/PS-086 | 172.27.153.149 | 502 | 3 | Temp CH-17 & Co2 Ch-4 | Temp & Co2
13 | E block protein scince lab | Aur/Eq/PS-055 | 172.27.153.149 | 502 | 2 | CH-13 | Temp
14 | E block protein scince lab | Aur/Eq/PS-001 | 172.27.153.149 | 502 | 2 | CH-15 | Temp
15 | E block protein scince lab | Aur/Eq/PS-056 | 172.27.153.149 | 502 | 2 | CH-16 | Temp
16 | E block protein scince lab | Crystalization lab RT | 72.27.153.149 | 502 | 3 | Ch-17 | Temp
17 | E block toxicology lab | AUR/EQ/SE-055 | 172.27.153.148 | 502 | 1 | Ch-2 | Temp | [6 empty] | Toxicoly
18 | E block toxicology lab | AUR/EQ/SE-043 | 172.27.153.148 | 502 | 1 | Temp ch-7 & Co2 Ch-1 | Temp & Co2
19 | E block toxicology lab | CC lab RT | 172.27.153.148 | 502 | 1 | Ch-6 | Temp
20 | E block toxicology lab | AUR/EQ/SE-061 | 172.27.153.148 | 502 | 1 | Ch-5 | Temp
21 | E block toxicology lab | AUR/EQ/SE-054 | 172.27.153.148 | 502 | 1 | Ch-4 | Temp
22 | E block toxicology lab | AUR/EQ/SE-053 | 172.27.153.148 | 502 | 1 | Ch-3 | Temp
23 | E block Anti body eng lab | AUR/EQ/AE/075 |  | 502
24 | E block Anti body eng lab | AUR/EQ/AE-076 |  | 502
25 | E block Anti body eng lab | AUR/EQ/AE-040 |  | 502
26 | E block anti body yeast lab | Aur/Eq/AE-062 | 10.0.114.11 | 502 | 2 | Ch-12 | Temp | [6 empty] | Pharmocology
27 | E block anti body yeast lab | Room Temp | 10.0.114.11 | 502 | 1 | Ch-2 | Temp
28 | E block anti body MB lab | Aur/Eq/Ae-015 | 10.0.114.11 | 502 | 2 | Ch10 | Temp
29 | E block anti body MB lab | Aur/Eq/Ae-014 | 10.0.114.11 | 502 | 2 | CH-09 | Temp
30 | E block anti body MB lab | Aur/Eq/Ae-041 | 10.0.114.11 | 502 | 1 | Ch11 | Temp
31 | E block anti body MB lab | Room Temp | 10.0.114.11 | 502 |  | CH-01 | Temp
32 | E block anti bodyphase lab | Aur/Eq/AE-035 | 10.0.114.12 | 502 | 1 | CH-06 | Temp | [6 empty] | Common instrument room
33 | E block anti bodyphase lab | Room Temp | 10.0.114.12 | 502 | 2 | Ch-11 | Temp
34 | E block anti body Analitical lab | AUR/EQ/AE-058 | 10.0.114.12 | 502
35 | E block anti body Analitical lab | Room Temp | 10.0.114.12 | 502 | 2 | Ch-9 | Temp
36 | E block anti body Analitical lab | AUR/EQ/AE/-063 | 10.0.114.12 | 502 | 1 | CH-7 & Ch-8 ( 2 sensors ) | Temp
37 | Anti body common instrument room | Aur/Eq/AE-020 | 10.0.114.12 | 502 | 1 | Ch-1 | Temp
38 | E block anti body common instrument room | AUR/EQ/AE/-068 | 10.0.114.12 | 502 | 1 | Ch-2 | Temp
39 | E block anti body common instrument room | Room Temp | 10.0.114.12 | 502 | 2 | CH-10 | Temp
40 | E block anti body Mammolian cell cultur lab | AUR/EQ/AE/-067 | 10.0.114.12 | 502 | 1 | Ch-3 | Temp
41 | E block anti body Mammolian cell cultur lab | AUR/EQ/AE/-040 | 10.0.114.12 | 502 | 1 | Ch-4 | Co2
42 | E block anti body Mammolian cell cultur lab | Room Temp | 10.0.114.12 | 502 | 2 | Ch-12 | Temp
43 | Pharmacologu formulation lab | AUR/EQ/PC-019 | 10.0.114.11 | 502 | 2 | CH-07 | Temp | [6 empty] | pharmocology
44 | Pharmacologu formulation lab | AUR/EQ/PC-050 | 10.0.114.11 | 502 | 1 | CH-06 | Temp
45 | Pharmacologu formulation lab | Room Temp | 10.0.114.11 | 502 | 1 | Ch-3 | Temp
46 | Pharmacologu formulation lab | AUR/EQ/PC-057 | 10.0.114.11 | 502 | 1 | Ch-08 | Temp
47 | Pharmacologu formulation lab | AUR/EQ/PC-017 | 10.0.114.11 | 502 | 2 | Temp Ch-13 & Co2 Ch-14 | Temp & Co2
48 | Pharmacologu formulation lab | AUR/EQ/PC-018 | 10.0.114.11 | 502 |  | Temp Ch-15 & Co2 Ch-16 | Temp & Co2
49 | Pharmacologu formulation lab | Room Temp | 10.0.114.11 | 502 | 1 | Ch-05 | Temp
50 | Pharmacologu formulation lab | Room Temp | 10.0.114.11 | 502 | 1 | Ch-04 | Temp
51 | A blockFF MC 1 | Aur/MC01/REF/003 | 172.27.153.229 | 502 | 2 | Ch-10 JB-2 | Temp | [6 empty] | Computational Chem
52 | A blockFF MC 2 | AUR/MC02/RFE/004 | 172.27.153.229 | 502 | 1 | Ch-06 JB-1 | Temp
53 | A blockFF MC 3 | AUR/MC03/REF/005 | 172.27.153.229 | 502 | 1 | Ch-7 JB-1 | Temp
54 | A blockFF MC 4 | AUR/MC04/REF/006 | 172.27.153.229 | 502 | 2 | Ch-12 JB-1 | Temp
55 | A blockFF MC 13 | AUR/MC013/REF/007 | 172.27.153.229 | 502 | 1 | Ch-08 JB-1 | Temp
56 | A blockFF MC 14 | AUR/MC014/REF/008 | 172.27.153.229 | 502 | 2 | Ch-09 JB-1 | Temp
57 | A blockFF MC 15 | AUR/MC015/REF/009 | 172.27.153.229 | 502 | 2 | Ch-10 JB-1 | Temp
58 | A blockFF MC 16 | AUR/MC16/REF/010 | 172.27.153.229 | 502 | 2 | Ch-11 JB-2 | Temp
59 | A blockFF MC 5 | AUR/MC05/REF/003 | 172.27.153.232 | 502 | 1 | Ch-4 JB-1 | Temp | [6 empty] | Praperative HPLC
60 | A blockFF MC 6 | AUR/MC06/REF/003 | 172.27.153.232 | 502 | 1 | Ch-5 JB-1 | Temp
61 | A blockFF MC 7 | AUR/MC07/REF/003 | 172.27.153.232 | 502 | 1 | Ch-6 JB-1 | Temp
62 | A blockFF MC 8 | AUR/MC08/REF/003 | 172.27.153.232 | 502 | 1 | Ch-4JB-2 | Temp
63 | A blockFF MC 9 | AUR/MC09/REF/003 | 172.27.153.232 | 502 | 1 | Ch-5 JB-1 | Temp
64 | A blockFF MC 10 | AUR/MC10/REF/003 | 172.27.153.232 | 502 | 1 | Ch-1 JB-2 | Temp
65 | A blockFF MC 11 | AUR/MC11/REF/003 | 172.27.153.232 | 502 | 1 | Ch-2 JB-2 | Temp
66 | A blockFF MC 12 | AUR/MC12/REF/003 | 172.27.153.232 | 502 | 1 | Ch-1 JB-2 | Temp
67 | C block GF MC17 | AUR/MC17/REF/003 |  | 502 |  |  | Temp | [6 empty] | MC 17 opposite
68 | C block GF MC18 | AUR/MC18/REF/003 |  | 502 | 1 | Ch-2 | Temp
69 | quality control room | L-153 instrument room 2 Temp |  | 502 | 1 | Ch-5 | RH
70 | quality control room | L-152 instrument room 3 temp |  | 502 | 1 | Ch-7 | RH
71 | quality control room | ADTL/QCD/REF/002 |  | 502 |  | 37 | Temp
72 | quality control room | stability Room Temperature1Temp |  | 502 |  |  | Temp
73 | quality control room | stability Room Temperature 2 Temp |  | 502 |  |  | Temp
74 | quality control room | L-150 WET Analyaia Room temp |  | 502 | 1 | Ch-1 | RH
75 | Ablock GF MB-01 | AUR/EQ/CMB-046 | 172.27.153.230 | 502 | 1 | Ch-07 DMPK-4 JB-1 | Temp | [6 empty] | DMPK-4
76 | Ablock GF MB-01 | AUR/EQ/CMN-159 | 172.27.153.230 | 502 | 1 | Ch-06 DMPK-4 JB-1 | Temp
77 | Ablock GF MB-02 | AUR/EQ/CMB-019 | 172.27.153.230 | 502 | 1 | Ch-02 DMPK-4 JB-1 | Temp
78 | Ablock GF MB-02 | AUR/EQ/CMB-018 | 172.27.153.230 | 502 | 1 | Ch-03 DMPK-4 JB-1 | Temp
79 | A block GF BC-01 | AUR/EQ/BC-070 |  | 502 | 1 | Ch-14 DMPK-4 TOP | Temp
80 |  | AUR/EQ/BC-032 |  | 502 |  |  | Temp
81 |  | AUR/EQ/BC-014 |  | 502 |  |  | Temp
82 | A block GF BC-02 | AUR/EQ/BC-026 |  | 502 | 1 | Ch-16 DMPK-4 Top | Temp
83 | A block GF BC-03 | AUR/EQ/BC-071 |  | 502 | 1 | Ch-17 DMPK-4 Top | Temp
84 | A block GF Assay Bio | AUR/EQ/BC-010 |  | 502 | 1 | Ch-04 DMPK-4 JB-1 | Temp
85 | A block GF Assay Bio | AUR/EQ/BC-044 |  | 502 |  |  | Temp
86 | A block GF Assay Bio | AUR/EQ/BC-023 | 172.27.153.230 | 502 | 1 | Ch-5 DMPK-4 JB-1 | Temp
87 | A block GF Assay Bio | AUR/EQ/BC-045 | 172.27.153.230 | 502 | 1 | Ch-8 DMPK-4 JB-1 | Temp
88 | A block GF GIF-02 | AUR/EQ/CMB-183 |  | 502 | 1 | Ch-03 | Temp | [5 empty] | New sensor fixed | GIF 2
89 | A block GF GIF-02 | AUR/EQ/PK-047 |  | 502 | 1 | Ch-4 | Temp
90 | A block GF GIF-02 | AUR/EQ/CMB-147 |  | 502 | 1 | Ch-7 | Temp
91 | A block GF GIF-02 | AUR/GIF2/FRZ-06 |  | 502 |  |  | Temp
92 | A block GF GIF-02 |  |  | 502 | 1 | Ch-5 | Temp | [5 empty] | New sensor fized
93 | A block GF GIF-02 | AUR/EQ/PK-052 |  | 502 | 1 | Ch-08 | Temp
94 | A block GF GIF-02 | AUR/EQ/IM-007 |  | 502 | 1 | Ch-04 DMPK-4 TOP | Temp
95 | A block GF GIF-02 | AUR/EQ/CMB-149 |  | 502 | 1 | Ch-03 DMPK-4 TOP | Temp
96 | A block GF GIF-02 |  |  | 502 |  |  | Temp
97 | A block GF GIF-02 | AUR/EQ/CMB-247 |  | 502 | 1 | Ch-02 | Temp | [5 empty] | New sensor and transmiter fixed
98 | A block GF GIF-02 | AUR/EQ/BC-033 |  | 502 |  |  | Temp
99 | A block GF DMPK-02 | AUR/EQ/PK-050 |  | 502 | 2 | Ch-11 | Temp | [6 empty] | DMPK 4
100 | A block GF DMPK-02 PO | Room temp |  | 502 | 2 | Ch-09 JB-1 | Temp
101 | A block GF DMPK-02 | Room Temp |  | 502 | 1 | Ch-07 DMPK 4 Top | Temp
102 | A block GF DMPK-02 PO |  |  | 502 |  |  | Temp
103 | A block GF DMPK-01 PO |  |  | 502 |  |  | Temp
104 | A block GF NMR | NMR RT |  | 502 | 1 | Ch-01 DMPK JB -1 | Temp
105 | A block GF DMPK-04 | AUR/EQ/PK-060 |  | 502 |  |  | Temp
106 | B block GF CC-01 LHS | AUR/EQ/CPD-26 |  | 502 | 1 | Ch-02 CC 2 JB-2 | Temp | [6 empty] | CC 2
107 | B block GF CC-01 LHS | AUR/EQ/CPD-27 |  |  | 1 | Ch-05 CC 2 JB-2 | Temp
108 | B block GF CC-01 LHS | AUR/EQ/CPD-10 |  |  | 2 | Temp Ch-03 & Co2 Ch-04 cc 2Jb-2 | Temp & Co2
109 | B block GF CC-01 LHS | AUR/EQ/CPD-009 |  | 502 | 3 | Temp Ch-13 & Co2 Ch-14 cc 2Jb-1 | Temp & Co2 | [5 empty] | New sensor fixed
110 | B block GF CC-01 LHS | CC RHS 1RT |  | 502 | 2 | Ch-02 CC JB-2 | Temp
111 | B block GF CC-01 RHS | AUR/EQ/CRD/018 |  | 502 | 1 | Ch-7 CC 2JB-1 | Temp
112 | B block GF CC-01 RHS | AUR/EQ/CRD/017 |  | 502 | 1 | Ch-08 CC 2 JB-1 | Temp
113 | B block GF CC-01 RHS | AUR/EQ/CRD/016 |  | 502 | 1 | Ch-05 CC 2 JB-1 | Temp
114 | B block GF CC-01 RHS | AUR/EQ/CRD-005 |  | 502 | 1 | Ch-2 CC-2 JB-2 | Temp
115 | B block GF CC-01 RHS | AUR/EQ/CRD-006 |  | 502 | 1 | Ch-4 | Co2 only
116 | B block GF CC-01 RHS | AUR/EQ/CRD-007 |  | 502 | 1 & 2 | Temp Ch-9( Devi-2) & Co2Ch-8(Devi-1) | Temp & Co2
117 | B block GF CC-01 RHS | NA |  | 502 | 2 | Temp Ch-16 & Co2Ch-15 ( JB-1 ) | Temp & Co2 | [5 empty] | New sensor fixed
118 | B block GF CC-01 RHS | CC LHS 1 RT |  | 502
119 | B block GF CC-02 LHS | AUR/EQ/CMB-069 |  | 502 | 2 | Ch-07 CC 2 JB-1 | Temp
120 | B block GF CC-02 LHS | AUR/EQ/CMB-070 |  | 502 | 2 | Ch-08 CC 2 JB-1
121 | B block GF CC-02 LHS | AUR/EQ/CMB-073 |  | 502 | 1 | Ch-6 CC 2 JB-2
122 | B block GF CC-02 LHS | AUR/EQ/CMB-071 |  | 502
123 | B block GF CC-02 LHS | AUR/EQ/CMB-072 |  | 502 | 3 | Temp Ch-05 & Co2 Ch-04 cc 2Jb-2 | Temp & Co2
124 | B block GF CC-02 LHS | AUR/EQ/CMB-072 |  | 502
125 | B block GF CC-02 LHS | AUR/EQ/CMB-079 |  | 502 | 2 | Ch-05 CC 2 JB-1 | Temp
126 | B block GF CC-02 RHS | AUR/EQ/CMB-094 |  | 502 | 1 | Vh-04 CC 2 JB-1 | Temp
127 | B block GF CC-02 RHS | CC 2 RT |  | 502 | 2 | Ch-06 CC 2 JB-1
128 | B block GF CC-02 RHS | AUR/EQ/CMB-155 |  | 502
129 | B block GF CC-02 RHS | AUR/EQ/CMB-106 |  | 502
130 | B block GF CC-05 LHS | AUR/EQCMB-132 |  | 502 | 1 | Ch-07 | Temp | [6 empty] | CC 5
131 | B block GF CC-05 LHS | AUR/EQ/CMB-154 |  | 502
132 | B block GF CC-05 LHS | AUR/EQ/CMB-133 |  | 502 | 1 | Temp Ch-06 & Co2 Ch-04 | Temp & Co2 | [5 empty] | New sensor fixed
133 | B block GF CC-05 LHS | CC 5 RT |  | 502 | 1 | Ch-5 | Temp
134 | B block GF CC-05 RHS | AUR/EQ/CMB-141 |  | 502
135 | B block GF CC-05 RHS | AUR/EQ/CMB-139 |  | 502
136 | B block GF CC-05 RHS | AUR/EQ/CMB-140 |  | 502
137 | B block GF CC-03 LHS | AUR/EQ/CMB-242 |  | 502 | 1 | Ch-08 | Temp
138 | B block GF CC-03 LHS | AUR/EQ/CMB-174 |  | 502 | 1 | Ch-04 Temp & Ch-05 Co2 | Temp & Co2
139 | B block GF CC-03 LHS | AUR/EQ/CMB-243 |  | 502 | 1 | Ch-01 Temp & Ch-06 Co2 | Temp & Co2
140 | B block GF CC-03 LHS | AUR/EQ/CMB-160 |  | 502 | 1 | Ch-02 | Temp
141 | B block GF CC-03 LHS | CC 3RT |  | 502 | 1 | Ch-02 | temp
142 | B block GF CC-03 LHS | AUR/EQ/CMB-180 |  | 502 | 1 | Ch-03 | Temp
143 | B block GF CC-03 RHS | AUR/EQ/CMB-0156 |  | 502 | 1 | Ch-06 | Temp
144 | B block GF CC-03 RHS | AUR/EQ/CMB-0150 |  | 502 | 1 | Ch-07 Temp & Ch-03 Co2 | Temp & Co2 | [5 empty] | New sensor fixed
145 | B block GF CC-03 RHS | AUR/EQ/CMB-131 |  | 502 | 1 | Ch-04 Temp & Ch-02 Co2 | Temp & Co2 | [5 empty] | New sensor fixed
146 | B block GF LN2 Room | NA |  | 502 | [9 empty] | DMPK 3
147 | B block GF LN2 Room | NA |  | 502
148 | B block GF MB-05 | AUR/EQ/CMB-045 |  | 502
149 | B block GF MB-05 | AUR/EQ/CMB-158 |  | 502
150 | B block GF MB-05 | AUR/EQ/CMB-039 |  | 502
151 | B block GF PXRD | PXRD RT | 172.27.153.235 | 502 | 2 | Ch-09 | RH
152 | B block GF DMPK-03 | AUR/EQ/PK-061 | 172.27.153.235 | 502 | 1 | Ch-04 | Temp
153 | B block GF DMPK-03 | AUR/EQ/PK-038 | 172.27.153.235 | 502 | ( DEV-2 Temp ) & ( Dev-1Co2 ) | ( Ch-10 Temp ) & ( Ch-02 Co2 ) | Temp & Co2
154 | B block GF DMPK-03 | AUR/EQ/PK-039 | 172.27.153.235 | 502 | ( DEV-2 Temp ) & ( Dev-1Co2 ) | ( Ch-09 Temp ) & ( Ch-01 Co2 ) | Temp & Co2
155 | B block GF DMPK-03 | DMPK 3 RT | 172.27.153.235 | 502 | 2 | Ch-11 | Temp
156 | B block GF PD | ADTL/PD/REF/005 | 172.27.153.236 | 502 | Dev-3 | Ch-14 | Temp
157 | B block GF PD | ADTL/PD/REF/003 | 172.27.153.237 | 502 | 1 | Ch-7 | Temp
158 | B block GF PD | ADTL/PD/REF/002 | 172.27.153.235 | 502 | 2 | Ch-12 | Temp
159 | B block GF ARD | ARD Lab RT |  |  |  |  | Temp | [6 empty] | ARd
160 | B block GF ARD | ADTL/ARD/REF/002 |  | 502 | 1 | Ch-02 | Temp
161 | B block GF ARD | ADTL/ARD/REF/003 |  | 502 | 1 | Ch-03 | Temp
162 | B block GF CC-04 LHS | AUR/EQ/CMB-105 | 172.27.153.235 | 502 | 1 | Ch-16 | Temp | [6 empty] | DMPK-3
163 | B block GF CC-04 LHS | AUR/EQ/CMB-157 | 172.27.153.235 | 502 | 2 | Ch-15 | Temp
164 | B block GF CC-04 LHS | AUR/EQ/CMB-104 |  | 502 | 2 | Ch-13 | Temp | [6 empty] | ARD
165 | B block GF CC-04 LHS | AUR/EQ/CMB-107 |  | 502 | 1 | Ch-02 | Co2
166 | B block GF CC-04 LHS | AUR/EQ/CMB-089 |  | 502
167 | B block GF CC-04 LHS | CC 4RT |  | 502 | 1 | Ch-08 | Temp
168 | B block GF CC-04 RHS | AUR/EQ/CMB-203 |  | 502 | 2 | Ch-14 | Temp
169 | B block GF CC-04 RHS | AUR/EQ/CMB-123 |  | 502
170 | B block GF CC-04 RHS | AUR/EQ/CMB-206 |  | 502
171 | B block FF Analytical HPLC | Room temp |  | 502 | [9 empty] | Praperative HPLC
172 | B block FF Analytical HPLC | ARU/EQ/AN-035 |  | 502
173 | B block FF prepractive HPLC | Room Temp | 172.27.153.232 | 502 | 1 | Ch-02 JB 1 | Temp
174 |  |  |  | 502
175
176 | C block basement Store | Refrigerator | 172.237.153.84 | 502 | 1 | Ch-04 | Temp | [6 empty] | General store
177 | C block basement Store | Refrigerator | 172.237.153.84 | 502 | 1 | Ch-02 | Temp
178 | C block basement Store | Freezer | 172.237.153.84 | 502 | 1 | Ch-03 | Temp
179 | C block basement Store | Freezer | 172.237.153.84 | 502 | 1 | C-01 | Temp
180 | E block Antibody Analitical Lab | AUR/EQ/AE-063 | 10.0.144.12 | 502 | 1 | Ch-08 | Temp | [6 empty] | Common instrumrnt room
181 | Stability Room Temp | RT | 10.0.144.13 | 502 | 2 | Ch-14 | Temp
182 | B block GF CC 3 RHS | ROOM Temp | 172.27.153.234 | 502 | 1 | Ch-05 CC 5 JB-1 | Temp | [6 empty] | CC 5
NOTE : Highlighted in yellow color not connected. IP address required for few devices

## userroles
a52bce08-f9d8-47f8-bb06-03fbdce743d9 | 1518e9ff-25b9-4af7-88fe-609f8221f434
a8ffe98b-b8d2-4820-862d-a11e68fc51e8 | 1518e9ff-25b9-4af7-88fe-609f8221f434
a52bce08-f9d8-47f8-bb06-03fbdce743d9 | 470830c7-7270-4184-aacd-d76c71b013d0
7ce87240-2789-4cf3-b044-9f19e51dfe30 | 70e92331-1aa0-4051-8d68-a7bdd6ad45ce
a52bce08-f9d8-47f8-bb06-03fbdce743d9 | 70e92331-1aa0-4051-8d68-a7bdd6ad45ce

## users
7ce87240-2789-4cf3-b044-9f19e51dfe30 | 0 | 2573dc59-35ef-4dbf-ace5-06672b7ea112 | Engineer | TRUE | TRUE | NULL | ENGINEER | ENGINEER | AQAAAAIAAYagAAAAEOmcdfOezOejpj0AmLL2noCFjxHDmcbXNA2pgo6QPwpMydZHgjMcGxLppNeV3pL89Q== | NULL | FALSE | CN45BXCWIQNQHAOG7FN5DVVN4ZG5JE2P | FALSE | Engineer
a52bce08-f9d8-47f8-bb06-03fbdce743d9 | 0 | f746f4b2-f10c-4e77-a158-54ce18052ff8 | Admin | TRUE | TRUE | NULL | ADMIN | ADMIN | AQAAAAIAAYagAAAAEFa6FMZTwQJJMsGgUAP/JBKyMbsJLaOsdO3JABXrW9l6xT9LEorZwmiojU0umktobw== | NULL | FALSE | TKH2FWHJUKPI7G52WEIZABMFCBWQYECI | FALSE | Admin
a8ffe98b-b8d2-4820-862d-a11e68fc51e8 | 0 | 4459f2c7-5abd-43fc-835e-decca3258045 | User | TRUE | TRUE | NULL | USER | USER | AQAAAAIAAYagAAAAEKM/P4j0ka2IPzJE/kFHA+qXWHIN8kwA2b3zViWZYw7i1L+VAtuq6Yz3XYsjUFwzHA== | NULL | FALSE | KY7MFUT66BDOXX3V5BGQ7CJ7OKKGEF2L | FALSE | User

## netroles
1518e9ff-25b9-4af7-88fe-609f8221f434 | NULL | User | USER
470830c7-7270-4184-aacd-d76c71b013d0 | NULL | Admin | ADMIN
70e92331-1aa0-4051-8d68-a7bdd6ad45ce | NULL | Engineer | ENGINEER

## Sheet2
reader | 5000
licence | 5000 | 1500
device | 15000